HIGH POWER LED
	[image: image1.jpg]


                                3W-Emitter  


[image: image2.jpg]Edixeon emitters are one of the highest flux LEDs in the world by
Edison Opto. Edixeon emitters are designed to satisfy more and more Solid-State.
ighting High Power LED applications for brilliant world such as flash light, indoor and
outdoor decoration light. Edixeon emitters are designed by particular package for High
Power LED. 3W Edixeon white has more than 90 lumens @700mA. Unlike most
fluorescent sources, Edixeon contains no mercury and has more energy efficient than
othior incandescent Baht sourcs:





[image: image3.jpg]Features
+Various colors
+ More energy efficient than incandescent and most halogen lamps
« Low voltage operated

+Instant light

+ Long operating

+ Reading lights
+ Portable flashlight
- Up-lighters and Down lightrs

+LCD Backlights
« General lighting

+ Contour lights

« Ceiling lights

« Garden lighting

+ Decoration lights

« Architectural lighting
+Beacon lights






                                                                                                                          Page 6 of 1
 
HIGH POWER LED
	[image: image4.jpg]


                                3W-Emitter  


[image: image5.jpg]Lambertian

wng

; Fdos
B =Y
P ——
L
i e
T
E } g

(ke




[image: image6.jpg]1. All dimensions are in mm.

2. Itis strongly recommended that the temperature of lead be not higher than 55'C

3. Itis important that the slug can’t contact aluminum surface, It is strongly recommended
that there should coat an uniform electrically isolated heat dissipation film on the
aluminum surface.





                                                                                                                          Page 6 of 2
 
HIGH POWER LED
	[image: image7.jpg]


                                3W-Emitter  


[image: image8.jpg]DC Forward Current e 700 ma
Peak pulse current;(tp=100us, Duty cycle=0.25) [ 1000 mA
Reverse Voltage Ve 5

Reverse Current(Vx=5V) s 50 A
LED junction Temperature (at 350 mA) T 125

Operating Temperature T | 30-+110

Storage Temperature Tug 40-+120

Manual Soldering Time at 260 (Max) Teo 5 seconds





[image: image9.jpg]%00

00
50
700
50
%00
00

TREI FERER





[image: image10.jpg]31

20

20

20

28

21

43

30

30

20

40

43






                                                                                                                          Page 6 of 3
 

HIGH POWER LED
	[image: image11.jpg]


                                 3W-Emitter  


[image: image12.jpg]5000
2800
a0
o0
505
515
450

8000
3800
620
o0
595
525

m

m

m

m

a7




[image: image13.jpg][White I I KT

Voo
i






                                                                                                                          Page 6 of 4
 
HIGH POWER LED
	[image: image14.jpg]


                                         3W-Emitter  


[image: image15.jpg]R

ERE = -

g 10T =

3% T

06 Amber
04 =
02 R =

20 0 20 40 6 8 100 120
Smction: Temperatuiel*C)




[image: image16.jpg]VF(V)

40
38
35
33
30
28
25
23
20
18
15

Junction Temperature & Forward Voltage:

E=73
roA

e
e

100 200 00 400 500 600 700 800
IF(m)
Operating Current & Forward Voltage





                                                                                                                          Page 6 of 5
 
HIGH POWER LED
	[image: image17.jpg]


                                         3W-Emitter   


[image: image18.jpg]‘There are 50pcs emitters in a tube
There are 20 tubes in a bag

3,
2

3. There are 2 bags in an inner box

4. Abag contains one humidity indicator card and drying agent




佳皇科技有限公司
KOODYZ Technology Co., Ltd
http://www.led-shop.com.tw

                                                                                                                          Page 6 of 6
 
